## clean table
Index | Category | Technology | Resolution | Scalability/ Throughput | Build and Part Sourcing Complexity | Skill Complexity | aren
1 | Bioprinting | Direct ink writing (DIW) bioprinter | 3 | 4 | 4 | 4 | 10.1002/adma.202414971
2 | Bioprinting | Direct light processing (DLP) bioprinter | 4 | 4 | 3 | 2 | 10.3390/inventions10050092
3 | Bioprinting | Freeform reversible embedding of suspended hydrogels (FRESH) multimaterial bioprinter | 3 | 4 | 3 | 3 | 10.1038/s41598-021-00931-1
4 | Bioprinting | Masked stereolithography bioprinter (mSLAb) | 4 | 2 | 4 | 4 | 10.1016/j.ohx.2024.e00543
5 | Bioprinting | Microextrusion Bioprinting Printhead | 3 | 3 | 4 | 4 | 10.3390/polym12102346
6 | Bioprinting | Multihead bioprinter | 2 | 2 | 4 | 4 | 10.1089/genbio.2022.0021
7 | Bioprinting | Plastic/gel extrusion bioprinter | 1 | 2 | 3 | 3 | 10.1016/j.ohx.2021.e00186
8 | Bioprinting | Srishti (laser-assisted bioprinter) | 4 | 2 | 3 | 2 | 10.1186/s44330-025-00051-6
9 | Bioreactor | 3D Printed Bioreactor | N/A | 2 | 3 | 3 | 10.3390/mi14101829
10 | Bioreactor | BIO-SPEC (parallel bioreactor) | N/A | 4 | 3 | 2 | 10.1016/j.ohx.2025.e00670
11 | Liquid Handling | Commit (digital pipette) | 1 | 3 | 3 | 4 | 10.1039/d5dd00336a
12 | Micro- fabrication | Homebrew photolithography | 5 | 2 | 4 | 4 | 10.1021/acsomega.3c05544
13 | Micro- fabrication | Melt electrowriting printer | 4 | 3 | 3 | 4 | 10.1002/marc.202300424
14 | Micro- fabrication | Near-field electrospinning system | 5 | 3 | 4 | 4 | 10.1016/j.ohx.2025.e00691
15 | Micro- fabrication | SOL3D (soft lithography on 3D vat polymerised moulds) | 4 | 3 | 3 | 4 | 10.1371/journal.pbio.3002503
16 | Micro- fabrication | STARTER (organ-on-chip platform) | 1 | 4 | 3 | 4 | 10.1039/d5lc00756a
17 | Micro- fabrication | UV photolithography | 4 | 2 | 2 | 2 | 10.3390/mi11050479
18 | Micro- fluidics | 3D-Printed Mold-Cast System | 2 | 2 | 2 | 2 | 10.1038/s41598-019-47475-z
19 | Micro- fluidics | Direct light processing printer | 3 | 3 | 3 | 4 | 10.3390/ma16216984
20 | Micro- fluidics | Mask-free laser lithography | 2 | 2 | 3 | 4 | 10.1021/acs.analchem.8b03169
21 | Micro- fluidics | Spatially/optically tailored 3D printing | 4 | 3 | 3 | 2 | 10.1038/s41467-021-25788-w
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Karen Shen is this where I add papers that we are including. Reply: @Kevin Perera pls go to the other table, where you note yes/no in the keep column

## rough summary_table_filled
Reference | Category | Technology | Function | Cost (USD) | Build Time | Build Complexity | Technical Skills Needed | Key Performance Metric | Resolution | Speed/Cycle Time | Scale/Throughput | Material/Reagent Compatibility | Open-Source Resources | Main Advantage | Main Limitation
https://pubs.rsc.org/en/content/articlelanding/2026/dd/d5dd00336a | Liquid Handling | Commit: Digital Pipette (v2) | Robot-mounted 3D-printed digital pipette for liquid transfer in self-driving labs | ~300 | ~10 min assembly (pipette unit itself) | Low | 3D printing; basic assembly; integration with robot gripper/arm | 0.2% random error at 10 mL nominal volume (ISO 8655-6); meets ISO 8655-2 accuracy range |  |  | Single-channel; compatible with standard two-finger robot grippers; supports tip-exchange for multi-liquid workflows | Compatible with standard commercial pipette tips; contamination-free multi-liquid workflows | Design files and documentation on GitHub | Open-source, low-cost, ISO-compliant accuracy; integrates with robot arms (not just gantries); disposable-tip compatible | Requires a robot arm/gripper to operate -- not a standalone bench tool
https://www.nature.com/articles/s41467-022-30643-7 | Liquid Handling | Personal Pipetting Robot (PHIL) | Compact liquid handling robot for automated pipetting/aspiration during live-cell incubation and microscopy | 600-800 | Not reported (3D-printed + off-the-shelf assembly) | Moderate | 3D printing; electronics assembly; basic scripting (no programming experience required for operation) | ~0.1 mm pipette positioning accuracy above well bottom (96-well plate, validated via fluorescence imaging) |  |  | Single to multi-pipet (modular; multiple units can be chained together); operates within standard 96-well plates | Compatible with live cells/media; supports immunostaining and stimulation reagents during time-lapse imaging | GitHub and authors' website; instructions in paper | Small enough to sit on microscope stages; enables automation during live-cell imaging without disrupting culture conditions; no programming skills required | Designed for small-volume/well-plate work -- not built for large-batch or high-volume liquid handling
https://www.sciencedirect.com/science/article/pii/S2468067220300791 | Liquid Handling | Replistruder 4 | High-performance open-source syringe extruder for extrusion/retraction control in FRESH 3D bioprinting | 141 (+ cost of host 3D printer) | Not reported | Moderate | 3D printing; mechanical assembly; mounting/calibration on host printer | Filaments down to 3.35 nL volume; printed channels patent down to 300 um width; printer travel accuracy <35 um (3 axes) |  |  | Single-syringe (1uL-10 mL range); multiple units can be combined for multi-material printing | Wide bioink range; compatible with Hamilton gastight syringes (stainless steel/Teflon/glass) and silicone | CAD files and install guide (HardwareX) | Low cost vs. commercial extruders ($5,000-120,000); enables retraction (precision control unavailable in pneumatic systems); adaptable to many desktop 3D printers | Requires a separate host 3D printer/motion platform; overall print quality depends on rigidity of that host platform
https://advanced.onlinelibrary.wiley.com/doi/epdf/10.1002/adma.202414971 | Bioprinting | Printess | Fully DIY (not retrofit) open-source 3D printer for multimaterial, high-throughput direct ink writing | 250 | Not reported (built from scratch |  |  | Electronics/microcontroller wiring; 3D printing; laser cutting; mechanical assembly |  |  | 10 um motion repeatability; +/-5 um positioning repeatability; switching resolution down to 1 mm (5 Hz at 5 mm/s print speed) | Multi-nozzle (up to 8 outputs demonstrated); high-throughput multimaterial printing | Wide range of inks/viscosities and curing chemistries, incl. cell-laden biological materials | CAD files; GitHub (software + instructions); printess.org | Full custom build (not a retrofit) at very low cost; high-end multimaterial/multinozzle features rivaling expensive commercial DIW systems; compact (3 kg, 23x23x40 cm)
https://pmc.ncbi.nlm.nih.gov/articles/PMC12834090/#sec2 | Microfabrication/Organ-on-Chip | STARTER | Modular, reconfigurable organ-on-chip platform with swappable pumping/sensing/OoC modules | Not reported (likely high due to custom parts) | Not reported | High | Microfabrication; fluidics design; electronics/sensor integration; ISO-standard compliance knowledge | Not reported (qualitative validation via multi-day in vitro and ex vivo OoC runs) |  |  | Multi-organ capable; modular/swappable components within ANSI/SLAS microplate footprint | ISO 22916-compliant fluidic circuits; supports multiple OoC chip types/materials | Not reported | Standardized, swappable modules allow reconfiguration across experiments without external peripherals; tube-less inter-module fluidic connections | High custom-fabrication burden; no reported cost or build-time data, suggesting limited accessibility for non-specialist builders
https://www.sciencedirect.com/science/article/pii/S2468067225000690 | Microfabrication/Electrospinning (biofabrication) | Low-cost near-field electrospinning (NFES) system | Open-source NFES system with GUI for programmable nanofiber patterning | 1200 | Not reported | Moderate | 3D printing; Arduino/electronics; basic GUI software use (no electrospinning-physics expertise required to operate) | Fiber diameters in the ~6-25 um range reported for related NFES setups (exact resolution not specified in this paper's available excerpt) |  |  | Single-collector setup (modular extrusion hardware can be added) | Polymer solutions (demonstrated with polyethylene oxide); modular design allows new extrusion hardware | Design files on OSF website | User-friendly GUI removes need to understand electrospinning physics; reproducible, programmable fiber patterning (a common limitation of custom-built NFES rigs) | Lower throughput/single-setup; reproducibility and fiber consistency still depend on careful calibration
https://www.mdpi.com/2073-4360/12/10/2346 | Bioprinting | Microextrusion-based bioprinting printhead | Open-source printhead that converts standard desktop 3D printers into bioprinters | <70 | Not reported | Low-Moderate | 3D printing; basic electronics wiring; installation on existing desktop 3D printer | Precise temperature control 2-60C; cell viability >90% at 24 h post-printing |  |  | Modular -- multiple printhead units can be combined on one carriage for multi-material printing | Validated with gelatin, alginate, and poloxamer bioinks; broad printer compatibility (3 different desktop printers tested) | GitHub and NIH 3D Print Exchange | Very low cost; full thermal control; multi-material capable; broad compatibility with common desktop 3D printers | Limited print resolution compared to specialized commercial microextrusion systems; shear stress on cells remains a consideration
https://www.frontiersin.org/journals/bioengineering-and-biotechnology/articles/10.3389/fbioe.2023.1108396/full | Bioprinting | Microextrusion bioprinter (recycled scrap material) | Low-cost 3D bioprinter built from recycled scrap metal and off-the-shelf electronics; no 3D printer required to build it | 260 | Not reported | Moderate | Metalworking/scrap fabrication; basic electronics assembly; no 3D printer access required | Z-axis step resolution of 10 um; 40 mm/s max non-printing move speed; 2-10 mm/s typical print speed |  |  | Single-construct printer | Demonstrated with alginate/gelatin bioink blends, incl. calcium chloride crosslinking | GitHub, CAD files, assembly schematics | Can be built from locally-sourced/scrap materials without needing a 3D printer; increases accessibility and is useful for teaching basic bioprinting techniques | Resolution/precision tradeoffs from using scrap/recycled components; build quality may vary with available scrap materials
https://www.nature.com/articles/s41598-020-70465-5 | Liquid Handling | OTTO | Open-source automated liquid handler (gantry-style) for micropipetting, e.g., qPCR sample prep | 1500 | Not reported | Moderate-High | 3D printing; electronics/Arduino; G-code/firmware setup; calibration | Accuracy and sample-prep time comparable to manual qPCR; fills a 96-well plate with standards/samples in 30-45 min |  |  | Multi-well (96-well plate scale) | Standard micropipette tips and labware | Fully open-source -- CAD files, part lists, firmware, and GUI on project website | Low-cost automated pipetting comparable to manual qPCR workflow; modular design | Lower throughput due to a slower built-in error-checking system
https://www.sciencedirect.com/science/article/pii/S2468067222000645 | Liquid Handling | Sidekick | Low-cost open-source 3D-printed armature-based liquid dispensing robot | 710 (motion system alone: 152) | Under 4 hours (excluding 3D-print time) | Low | 3D printing; basic electronics; MicroPython/G-code-subset command use | Dispenses liquid in 10 uL increments; positional accuracy via homing system + high-resolution stepper motors |  |  | Single 96-well SBS-format plate (4 dispense nozzles: P1-P4) | Liquids compatible with solenoid-driven positive-displacement pumps | All CAD, PCB, firmware, and documentation on GitHub (open license) | Accessible, easy-to-build and maintain; armature design reduces part count/build time/footprint vs. Cartesian systems; much cheaper than commercial liquid handlers (e.g., OT-2 at $5,000+) | Dispense-only -- cannot aspirate, so it is not a full substitute for a manual pipette
Development of a microfluidic-assisted open-source 3D bioprinting system (MOS3S) for the engineering of hierarchical tissues - ScienceDirect | Bioprinting | (MOS3S) Microfluidic-assisted Open Source 3D bioprinting System | Unique 3D microfluidic-assisted extrusion-based bioprinter (MOS3S) built from a FDM printer for the dispensing of low-viscosity hydrogels. | 545 | Not reported | Low-Moderate | 3D printing; electronics/Arduino; G-code/firmware setup; calibration, Rumba board and DRV8825 stepper driver setup. Basic Hand Tools. FDM 3D printed parts. | 250 µm printing resolution, 500 µm pore size, 200 µm layer height, accurate microliter-scale dispensing; multimaterial printing. | Structures of a 500 µm pore size and filament width of 250 µm, and 250 um layer height | 10-12 mm/s for printhead speed, and 30 ul/min flowrate. | Low throughput in terms of single standard FDM sized build plate, and speeds of 30 ul/min flow rate. Would require parallized units to scale up large or batch structures with a foot print larger hundreds of mm. | Multiple gel materials tested, and system is designed to allow for a variety of base to cross linker mixing variations. Such as alginate, gelatin methacryloyl (GelMA), Hyaluronic Acid (HA), laponite, and chitosan. | All CAD, PCB, firmware, part links, and documentation details in the supplemental files of the paper. | Can be applied to a variety of gel materials due too the multi-syringe array using commerical, and 3D printed parts with a simple assembly. Provides maintained 250 um to 500 um resolution and validation with four material types. | Low throughput in terms of single standard FDM sized build plate,
Designing Cost-Effective Open-Source Multihead 3D Bioprinters - David Chimene, Kaivalya A. Deo, Jeremy Thomas, Landon Dahle, Cole Mandrona, Akhilesh K. Gaharwar, 2022 | Bioprinting | Open-source, multihead extrusion-based 3D bioprinter modified from consumer-grade FDM printers with multiple syringe extruders | Estimate 1-2 days for assembly wiring, firmware installation, and calibration. | 400 | 1–2 days for assembly | Moderate-High | Basic 3D printer assembly, electronics, firmware flashing (Marlin), G-code, slicing software, calibration, sterile bioprinting techniques, hydrogel preparation. | Multi-material printing capability, print fidelity, cell viability after printing, extrusion accuracy, and temperature-controlled deposition. The system demonstrates successful in vitro and ex vivo bioprinting. | 100um-400um based on standard FDM nozzles. Paper emphaszies extrusion based bioprinting
Design and implementation of a low cost bio-printer modification, allowing for switching between plastic and gel extrusion - ScienceDirect
Development of a high-performance open-source 3D bioprinter ¦ Scientific Reports
An open source extrusion bioprinter based on the E3D motion system and tool changer to enable FRESH and multimaterial bioprinting ¦ Scientific Reports
mSLAb – An open-source masked stereolithography (mSLA) bioprinter - ScienceDirect
An Open-Source 3D Bioprinter Using Direct Light Processing for Tissue Engineering Applications
Open-source, community-driven microfluidics with Metafluidics ¦ Nature Biotechnology
Low-cost, versatile, and highly reproducible microfabrication pipeline to generate 3D-printed customised cell culture devices with complex designs ¦ PLOS Biology
https://pubs.acs.org/doi/10.1021/acs.analchem.8b03169
A simple method of fabricating mask-free microfluidic devices for biological analysis - PMC
https://pubs.acs.org/doi/10.1021/acsomega.3c05544
https://link.springer.com/article/10.1007/s10439-024-03481-5
Open-source spring-driven syringe pump with 3D-printed components for microfluidic applications - ScienceDirect
Open-Source Syringe Pump Library ¦ PLOS One
A low-cost push–pull syringe pump for continuous flow applications - ScienceDirect
Open-source, 3D-printed Peristaltic Pumps for Small Volume Point-of-Care Liquid Handling ¦ Scientific Reports
A robot-assisted acoustofluidic end effector ¦ Nature Communications
Soft robotic patterning of liquids ¦ Scientific Reports
FINDUS: An Open-Source 3D Printable Liquid-Handling Workstation for Laboratory Automation in Life Sciences - ScienceDirect
OpenWorkstation: A modular open-source technology for automated in vitro workflows - ScienceDirect
Open-source cell culture automation system with integrated cell counting for passaging microplate cultures
Leveraging flexible pipette-based tool changes to transform liquid handling systems into dual-function sample preparation and imaging platforms - ScienceDirect
Real-time AI-driven quality control for laboratory automation: a novel computer vision solution for the opentrons OT-2 liquid handling robot ¦ Applied Intelligence ¦ Springer Nature Link
A 3D-Printed Plate Handler for Automated Handling of Well Plates on the Opentrons OT-2 ¦ Journal of Open Hardware
PyLabRobot: An open-source, hardware-agnostic interface for liquid-handling robots and accessories - ScienceDirect
OT-Mation: an open-source code for parsing CSV files into Python scripts for control of OT-2 liquid-handling robotics ¦ Synthetic Biology ¦ Oxford Academic
https://www.eneuro.org/content/6/5/ENEURO.0240-19.2019
https://doi.org/10.1145/3294109.3295619
https://doi.org/10.1101/2023.12.29.573685
https://pmc.ncbi.nlm.nih.gov/articles/PMC10847170/
https://www.hardware-x.com/article/S2468-0672(18)30087-7/fulltext
https://www.nature.com/articles/s41598-025-06478-9
https://www.nature.com/articles/s41598-022-16008-6
https://www.sciencedirect.com/science/article/pii/S1877705815012564
https://doi.org/10.1016/j.crmeth.2024.100915 | Bionics & Prosthetics | Kevin
https://doi.org/10.1109/access.2023.3304544 | Bionics & Prosthetics | Kevin
https://doi.org/10.3390/biomimetics8020255 | Bionics & Prosthetics | Kevin
https://doi.org/10.1371/journal.pone.0232766 | Bionics & Prosthetics | Kevin
https://doi.org/10.3390/s20113144 | Bionics & Prosthetics | Kevin
https://doi.org/10.3390/s20154174 | Bionics & Prosthetics | Kevin
https://doi.org/10.3390/ijerph16091641 | Bionics & Prosthetics | Kevin
https://doi.org/10.1371/journal.pone.0214120 | Bionics & Prosthetics | Kevin
https://doi.org/10.1109/ecmsm.2017.7945898 | Bionics & Prosthetics | Kevin
https://doi.org/10.1080/23335432.2017.1364666 | Bionics & Prosthetics | Kevin
https://doi.org/10.1016/j.bprint.2025.e00425 | Bioprinting | Edison
https://doi.org/10.1115/msec2023-104996 | Bioprinting | Edison
https://doi.org/10.1016/j.bprint.2019.e00044 | Bioprinting | Edison
https://doi.org/10.1371/journal.pone.0224878 | Bioprinting | Edison
https://doi.org/10.1371/journal.pone.0179133 | Bioprinting | Edison
https://doi.org/10.1016/j.ohx.2025.e00670 | Bioreactors & Tissue | Kevin
https://doi.org/10.3389/fbioe.2023.1202836 | Bioreactors & Tissue | Kevin
https://doi.org/10.3390/mi14101829 | Bioreactors & Tissue | Kevin
https://doi.org/10.1371/journal.pone.0251812 | Bioreactors & Tissue | Kevin
https://doi.org/10.3389/fbioe.2020.580889 | Bioreactors & Tissue | Kevin
https://doi.org/10.1016/j.mex.2016.10.005 | Bioreactors & Tissue | Kevin
https://doi.org/10.1039/d5lc00181a | Imaging & Microscopy | Karen
https://doi.org/10.1038/s41467-024-45567-7 | Imaging & Microscopy | Karen
https://doi.org/10.1109/access.2024.3355272 | Imaging & Microscopy | Karen
https://doi.org/10.1098/rsta.2023.0257 | Imaging & Microscopy | Karen
https://doi.org/10.1016/j.heliyon.2024.e38214 | Imaging & Microscopy | Karen
https://doi.org/10.1098/rsta.2023.0107 | Imaging & Microscopy | Karen
https://doi.org/10.3390/mi13111974 | Imaging & Microscopy | Karen
https://doi.org/10.1063/5.0041027 | Imaging & Microscopy | Karen
https://doi.org/10.1016/j.ohx.2021.e00189 | Imaging & Microscopy | Karen
https://doi.org/10.1098/rsos.211158 | Imaging & Microscopy | Karen
https://doi.org/10.1109/ghtc46280.2020.9342860 | Imaging & Microscopy | Karen
https://doi.org/10.1039/d4dd00411f | Liquid Handling & Automation | Edison
https://doi.org/10.1021/acs.jchemed.3c00855 | Liquid Handling & Automation | Edison
https://doi.org/10.3390/mi14020257 | Liquid Handling & Automation | Edison
https://doi.org/10.1016/j.slast.2022.07.001 | Liquid Handling & Automation | Edison
https://doi.org/10.1016/j.ohx.2021.e00202 | Liquid Handling & Automation | Edison
https://doi.org/10.1038/s41598-021-01126-4 | Liquid Handling & Automation | Edison
https://doi.org/10.1016/j.ohx.2021.e00214 | Liquid Handling & Automation | Edison
https://doi.org/10.3390/app10030814 | Liquid Handling & Automation | Edison
https://doi.org/10.26701/ems.769837 | Liquid Handling & Automation | Edison
https://doi.org/10.1016/j.ohx.2020.e00115 | Liquid Handling & Automation | Edison
https://doi.org/10.1038/s41598-019-48815-9 | Liquid Handling & Automation | Edison
https://doi.org/10.1371/journal.pone.0217268 | Liquid Handling & Automation | Edison
https://doi.org/10.1039/c9ra08368e | Liquid Handling & Automation | Edison
https://doi.org/10.3390/ma16216984 | Microfabrication | Karen
https://doi.org/10.1002/marc.202300424 | Microfabrication | Karen
https://doi.org/10.1021/acs.jchemed.4c00033 | Microfluidics | kevin
https://doi.org/10.3390/mi14050930 | Microfluidics | kevin
https://doi.org/10.1016/j.aca.2021.338230 | Microfluidics | kevin
https://doi.org/10.1038/s41467-021-25788-w | Microfluidics | kevin
https://doi.org/10.1016/j.ohx.2020.e00096 | Microfluidics | kevin
https://doi.org/10.1039/c9lc00512a | Microfluidics | kevin
https://doi.org/10.1002/admt.201900275 | Microfluidics | kevin
https://doi.org/10.1038/s41598-019-47475-z | Microfluidics | kevin
Note on B68: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ks
Note on B92: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: ks

## Criteria Rubric
Currently being edited. |  |  |  | Scale Breakdown (Detail what 1-5 means)(Higher is better)
Category | Category Description | Biofabrication Technology Type | Information we want to the table | 1 | 2 | 3 | 4 | 5
Resolution | How small or precise can this technology achieve? | Bioprinting | feature size, | >1000 um | 500-1000 um | 100-500 um | 10-100 um | <10 um
|  | Liquid Handling | Minimum Handling Volume, max volume, Viscocity Range, accuracy, flow rate, head pressure, min stable flow | Min reliable >100 ul, unstable flow with poor control | 50-100ul, coarse flow-rate control, substaintial pulstaion/drift | 10-50ul, moderate flow rate | 1-10ul accurate low flow control, limited pulsation | <1ul, highly precise and stable microflow with minimal pulsation.
|  | Microfabrication | feature size, | >500 um | 100-500 um | 50-100 um | 10-50 um | <10 um
Scalability/Throughput | How scalable is from low device production to high throughput manufacturing for biofabrication | Bioprinting | print speed, build volume, number of printheads, level of human-involvment in the printing, parallelization of printing, bioink capacity, reproducibility, | Single construct printing; slow operation; extensive manual intervention; limited reproducibility | Small batch production; manual loading/setup; limited automation | Moderate throughput; repeatable fabrication of multiple constructs; some automation or parallelization | High throughput; multiple constructs per run; automated workflows; reduced user intervention | Scalable platform; continuous operation, multi-printhead capability, automated sample handling
|  | Liquid Handling | number of channels, resource handling, number of independently controlled pumps, parallelization, capacity, liquid switching | One channel or fluid at a time. Substantial manual intervention. | Automated operation but limited batch size, runtime, or fluid capacity | Processes a complete standard workflow, plate, or continuous fluid path independently | Multiple independently controlled channels or fluid paths with unattended operation | Highly parallel or continuously scalable operation, such as ≥8 channels, multiplexed pumping, automated fluid switching, or long-duration continuous processing
|  | Microfabrication | fabrication batch size, process repeatability, parallel processing, | Single-device fabrication; each device requires independent fabrication steps; no reusable components (1-10 devices per month) | Small-batch fabrication; manual processing with limited reuse of molds/masters (10-50 devices per month once mold or master made) | Batch fabrication enabled by reusable molds/masters; multiple devices produced from a single fabrication step (50-200 devices per month) | Parallelized fabrication workflow using standardized processes, allowing consistent production of many devices (500-1000 devices per month) | Automated or highly standardized manufacturing workflow with minimal manual intervention and high production capacity (1000's of devices per day)
Build and Part Sourcing Complexity | How many components are off the shelf vs custom. Meaning how complex is it to source and build parts | Bioprinting | can you convert an existing 3D printer, use off-the shelf components like firmware, control boards, extruder/dispenser, etc? how much needs to be custom-made? | Requires design and development of a novel printing system, including custom mechanical design, electronics, control software, and access to specialized fabrication tools | Requires custom hardware integration involving fabrication of structural components, electronic modifications, and/or firmware/software adjustments | Requires multiple custom or modified components (e.g., 3D-printed mounts, custom brackets, modified electronics); basic mechanical assembly and wiring required | only requires commerically available components (e.g. syringe pump, extrusion nozzle printhead) on a repurposed 3D printer, no custom fabriation or electronic modification | commerical printer/open-source kit with no hardware modifications; requires only basic setup and software installation
|  | Liquid Handling | number of custom parts, difficulty of making/sourcing custom parts, regional availablity of parts, requires existing equipment/modification , pump type, valves, regulators, motors | large amounts of custom machining, experts in enginerring and programming required | serveral precision custom parts, major modification of exisiting equipment | combination of off the shelf and custom parts | mostly off the shelf and simple 3d printed parts | off the shelf or kits
|  | Microfabrication | availability of existng hardware equipment (e.g. mask aligner, mask writer) or require custom | Requires development of a custom fabrication workflow, including novel processing methods, custom-built equipment, specialized infrastructure, or extensive optimization of fabrication parameters | Requires specialized microfabrication infrastructure or custom fabrication processes (e.g., photolithography, cleanroom-access equipment, custom molds, precision alignment, specialized materials) | Requires multiple fabrication steps and dedicated laboratory equipment (e.g., spin coating, plasma bonding, UV exposure, mold fabrication) but uses established protocols and commercially available materials | Requires assembly of commercially available materials or basic fabrication steps (e.g., cutting, drilling, molding, simple 3D printing); no specialized microfabrication equipment required | commerically available equipment, requires only basic tools and materials, no specialized equiment/fabrication facilities
Skill Complexity | How broad or specific are the skills do you need to build the thing. How many skills needed plays into this categories scoring | Bioprinting | cell culture, 3D modeling, microscopy/imaging, CAD, understanding of material science and bioink formulation, | designing a new bioprinting platform, developing novel hardware/control strategies, engineering new bioink systems | requires advanced skills including: electronics/software, developing custom printing workflows, designing bioinks, and performing biological validation of printed constructs | Requires skills in multiple technical areas, including mechanical assembly, calibration, bioink preparation, and optimization of printing parameters | Requires basic mechanical and laboratory skills, such as printer operation, material preparation, and routine parameter adjustment | requires basic laboratory skills only; established protocols with minimal technical troubleshooting
|  | Liquid Handling | skill areas (mechincial assembly, CAD, electronic, soldering, programming) | expert level of skill required across serveral areas | advanced skills in multiple areas required | moderate maker skills and experience, common lab skills | basic assemble, simple coding, tasks can be completed by typical researcher | plug and play, simple assemble, no special skills required
|  | Microfabrication | CAD, photolighthograhy and patterning, etching, characterization, cleanroom protocol, understanding of materials science | expert-level: developing new fabrication methods, designing custom fabrication equipment, optimizing novel materials/processes, and establishing new manufacturing workflows | Requires advanced microfabrication expertise: photolithography, micro-scale patterning, specialized equipment operation, precision alignment, and fabrication troubleshooting | Requires microfabrication laboratory skills: following established fabrication workflows, mold preparation, surface treatment, bonding techniques, and optimization of fabrication parameters | CAD design, desktop fabrication (e.g., 3D printing/laser cutting), basic bonding/assembly, and dimensional verification | Requires basic fabrication skills: device assembly, simple cutting/molding, following published fabrication protocols, and basic handling of materials
Equipment/Cosumable/Facility Requirement Accessibility | How accessible are the equipments, technology, consumable, and facilitiy requirements for building and using this tool. | Bioprinting | 3D printer, consumables (bioinks), sterile enclosure | Requires highly specialized infrastructure or commercial-grade equipment | Requires advanced equipment or dedicated fabrication facilities | Requires specialized laboratory equipment or consumables but available in many research laboratories | Requires commercially available equipment and consumables with basic laboratory access; fabrication can be performed using common tools or desktop equipment | Requires only readily available components and standard laboratory supplies
|  | Liquid Handling | tips, syringe, proprietary consumables, enclosure requirements, recurring costs | Requires clean room access, specialised manufacturing facilities, or highly proprietary consumables. | Require expensive specialized equipment or difficult to source consumables. | Requires a university workshop or shared user facility and some specialised components. | Can be produced with common desktop fabrication tools and generic consumables. | Requires only standard benchtop laboratory equipment and widely available generic consumerables.
|  | Microfabrication | can the equipment operate on a benchtop, or in a cleanroom? professional grade consumables or maker/hobby grade? CAD software accessibility | highly specialized facilities or proprietary equipment needed, and consumables extremely expensive | Requires cleanroom at minimum, some cheap or general OEM consumables, predominatly expensive or niche consumables. | Requires specialized laboratory equipment commonly found at the academic or industrial level, and consumables low to moderately expensive. Cleanroom would help, but mot required. (e.g., spin coater, plasma cleaner, PDMS, specialized polymers, UV curing systems) | desktop fabrication tools and standard laboratory equipment, materials are readily available, consumables relatively cheap (<$1000) | common tools and commercially available materials, no specialized laboratory equipment or facilities required. Could be made with consumables found at general stores, and cost (<<$1000)
Application Level | Is it general purpose for most applications in the space or niche (i.e can you use this tool for a variety of applications, or was it designed for narrow use case) | Bioprinting | Limited to specific tissues types or analogous tissues using specific ECM substitites (i.e hydrogels), and cell types. Versus highly flexibl | demonstrated only for non-biological or proof-of-concept printing, no biological application shown | demonstrated printing of simple biolocal materials (e.g. hydrogels) or acellular constructs | demonstrated printing of cell-laden constructs with limited functional validation | demonstrated capability for complex biological applications, such as multi-material printing, heterogenous tissue constructs | demonstrated capability for printing clinically relevant archetectures, with functional validation
|  | Liquid Handling | Demonstrated liquid types. Viscosity ranges. Proticle containing liquids. Supported operations. Compatible labwear. Programmability. Ability to change protocols. Continuous flow, washing | Demonstrate one fixed liquid on narrowly defined procedure. | supports one main application with limited changes in volume, liquid or protocol. | Support several common liquid handling tasks or liquid types. | Supports multiple workflows, labware formats, and challenging liquids. | General purpose, programmable and modular platform suitable for a variety of liquids.
|  | Microfabrication | Solves highly specific, personalized biological problems (custom-built for a single type of research question), or standardized for general purposes applications for a variety of things such as disease modelling, variable organs/cell applications, and drug screening models. | demonstrated only proof-of-concept without a functional application | Produces a functional device for a limited or narrow purpose, with basic validation of intended operatio | Produces a functional biological or engineering platform validated for its intended application | Enables advanced or expanded applications, such as integrated sensing, or multi-function platforms | Enables highly versatile or broadly applicable platforms, such as automated systems, high-throughput screening, multi-organ systems, or clinically/translationally relevant applications
Accessibility to documentation | How good is the documentation for both building the tool and usage by the author. | Bioprinting | repositories, CAD files, documentation of firmware and code, G-code, bioink formulation if it's custom, list of soruce materials, written or filmed assembly instructions | insufficient information for reproduction | provides partial build information but missing critical details required for reproduction | provides enough information to build and operate, but some details (e.g., component specifications, assembly steps, calibration procedures) require interpretation or optimization | provides detailed building and operating information, enabling reproduction wih limited additional information | Provides a complete build guide enabling direct reproduction, including all design files, bill of materials, fabrication protocols, software/firmware, operating procedures, and user support resources
|  | Liquid Handling | Open access article. Bill of materials. CAD files. Source code. Firmware and wiring diagrams. Assembly instructions. Calibration and validation workflows. Operating protocols. Troubleshooting guides. Open source license. | Only conceptual description critical information missing. | Partial methods are provided, but essential files, code, or component details are absent. | Enough information to attempt replication, but substantial interpretation required. | Complete build and operating instructions with only minor gaps. | Complete openly accessable version packaged with files, code, calibration, examples, and troubleshooting.
|  | Microfabrication | CAD/mask files, bill of materials (consumables, hardware), build instruction manual, process flow sheets/SOPs, calibration metrics, source code, software documentation for equipment usage, Troublshooting and failure mode documentation during fabrication and handling. | insufficient information for reproduction | describes the fabrication approach and materials but critical process parameters are missing | provides a reproducible fabrication workflow with major materials, steps, and conditions, but some optimization details are unavailable | provides detailed fabrication protocols, including device design, materials, process conditions, and assembly methods | provides a complete fabrication package, including design files (CAD/masks), detailed protocols, process parameters, and troubleshooting guidance
Validation/Troubleshooting Complexity | How well validated is the technology. Has it been validated against industry standards or commercially available counterparts? How easy is it to validate once built. | Bioprinting | mechanical validation (accuracy of the axes, syringe pump function, nozzle flow behavior), material validation (rheology, cross-linking, shape), biologcal validation (cell viability assay), | Requires extensive validation and benchmarking against commercial systems or established standards; failures may require redesign of hardware, software, or biological protocols | Requires advanced validation against multiple performance criteria, troubleshooting requires multidisciplinary expertise | Requires multiple validation steps involving both hardware and biological performance | requires basic calibration and performance testing using readily availble tools | requires only verification of system performance using simple, direct tests
|  | Liquid Handling | Validation methods, volume tested, liquids tested, number of replicates, accuracy, precision, multi-day tests, multi-device tests, benchmark against comericial liquid handlers. Acceptance criteria, troubleshooting information. Flow rate accuracy and precision. Pulsation, pressure stability, long duration drift. Leakage and waste, bubble formation | No meaningful quantitative validation and no calibration procedure. | Tested under one volume, flow rate, or liquid condition with limited replicates and no benchmark | Accuracy or precision tested across multiple volumes, flow rates, or operating conditions; basic calibration provided | Validated across several volumes/flow rates, liquids, viscosities, or backpressures and compared with a conventional method | Extensive multi-day and multi-device validation, including drift, leakage, pulsation, carryover, clogging, and clear troubleshooting guidance
|  | Microfabrication | feature validation (imaging/metrology/microscopy), funcational and material validation (flow/leak testing, surface characterization, spectroscopy of material composition), validation against baselines (compared to the same fabricaiton in a standard facility, testing of physical properties, biological/chemical assays, disease modelling performance) | Requires extensive characterization, benchmarking, and expert troubleshooting; failure sources are difficult to identify. No validation against industry practices or comparable devices; difficult to verify performance. | Requires specialized testing and optimization of multiple fabrication parameters; troubleshooting requires advanced expertise. Limited validation with only preliminary comparisons; significant effort and custom testing required to confirm performance. | Requires functional testing and process optimization; common failure sources can be identified with experience. Moderately validated with benchmarking against selected literature or commercial counterparts; validation methods are established but require substantial testing. | Requires standard validation tests with clear acceptance criteria; troubleshooting approaches are established. Well validated against industry-standard fabrication methods or commercially available devices; verification is straightforward using standard characterization techniques. | Requires only basic validation with clear pass/fail criteria; failures are easy to identify and correct. All neccesary validation to commercialize has been completed, and is ready for use with no limitations.
Speed/Cycle Time | How fast does the method generate usable parts or intended outcome once built (i.e How fast compared to traditional or alternative tools) | Bioprinting | time to fabricate a construct, considering printing speed, automation, workflow efficiency | slower, impractical for routine use? | slower | moderate increase in printing time (by hours?) | slightly slower (by minutes?) but remains practical for routine printing | faster
|  | Liquid Handling | Time for aspiration and dispensing, or pumping throughput, priming time, time to stable flow, fluid-switching and washing time, comparison with conventional pipetting, pumping, or manual handling. | More than 2x slower (consider amount out volume dispensed as well) | 20%-100% slower | +-20% | 1.2-3x faster | More than 3x faster
|  | Microfabrication | is the design-to-device turnaround longer or shorter than if it were traditionally fabricated? | slower than traditional method, requiring multiple iterations | slower than traditional methods on an order of hours. | approximately the same amount of time as traditional methods | hours to days faster than existing methods | days to weeks faster than existing methods.
Build Time | How fast can the device or method be setup. Note: This category feeds into scalability, however just because something is fast does not mean its scalable for large batch manufacturing neccessarily. It helps though. | Bioprinting | material sourcing time, mechanical and electrical assembly, firware/software setup, calibration, bioink optimization, sterility modifications | Requires complex fabrication and assembly of custom components, calibration, and multiple stages of optimization and modification (multi-day) | requires fabrication and assembly of custom components and calibration, optimization is expected (multi-day) | requires assembly of components and calibration with instructions, limited optimization expected (multi-day) | requires minor assembly of an existing platform, with minimal calibration (operational within 1 day) | ready to use with minimal setup (i.e. pre-assembled, no calibration or optimization needed) (same-day operation)
|  | Liquid Handling | Active hands on construction time. Total construction time. Software setup, calibration time. Time to first successful operation. | More than one month, or more than 80 active hours. | One to four weeks, approximately 40-80 hours. | Two to seven days, or approximately 16-40 hours | Less than two days approximately 4-16 hours | Less than four hours. Or essentially ready to operate.
|  | Microfabrication | material sourcign time, mechanical assembly, leak testing, calibration, biological validation, fabrication optimization, sterility validation, | >1 month | 1-4 weeks | 1 week | less than 1 week | <1 day
Note on D17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I will add more details regarding the consumable component for the scoring descriptions.
Note on D18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The focus for this section I feel like should be more focused on whether the bioprinting methodology can be used for only limited use cases in terms of ECM and cell type. Elements of this are here, but I will add to what you wrote Karen. Reply: @Karen Shen I hope that's okay. Reply: feel free to change/add
Note on E26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: I will add some numerical metrics for these scoring categories and some references to standards utilizations.

## Sheet1
index | title | doi | technology_type | Resolution value | Scalability/Throughput value | Build and Part Sourcing Complexity value | Skill Complexity value | Equipment/Cosumable/Facility Requirement Accessibility value | Application Level value | Accessibility to documentation value | Validation/Troubleshooting Complexity value | Speed/Cycle Time value | Build Time value | Approximate Total Build Cost (USD) | doi
19 | An Open-Source 3D Bioprinter Using Direct Light Processing for Tissue Engineering Applications | 10.3390/inventions10050092 | Bioprinting | 4 | 4 | 3 | 2 | 2 | 4 | 3 | 4 | 4 | N/A | 7200-15000 | 10.3390/inventions10050092
26 | Development and implementation of a significantly low-cost 3D bioprinter using recycled scrap material | 10.3389/fbioe.2023.1108396 | Bioprinting | N/A | 2 | 4 | 4 | 3 | 3 | 4 | 4 | 4 | N/A | 120-260 | 10.3389/fbioe.2023.1108396
33 | An open source extrusion bioprinter based on the E3D motion system and tool changer to enable FRESH and multimaterial bioprinting | 10.1038/s41598-021-00931-1 | Bioprinting | 3 | 4 | 3 | 3 | 3 | 4 | 2 | 4 | N/A | N/A | N/A | 10.1038/s41598-021-00931-1
38 | A Versatile Open-Source Printhead for Low-Cost 3D Microextrusion-Based Bioprinting | 10.3390/polym12102346 | Bioprinting | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 3 | N/A | 70 | 10.3390/polym12102346
107 | mSLAb – An open-source masked stereolithography (mSLA) bioprinter | 10.1016/j.ohx.2024.e00543 | Bioprinting | 4 | 2 | 4 | 4 | 4 | 2 | 4 | 2 | N/A | N/A | 380-480 | 10.1016/j.ohx.2024.e00543
29 | Designing Cost-Effective Open-Source Multihead 3D Bioprinters | 10.1089/genbio.2022.0021 | Bioprinting | 2 | 2 | 4 | 4 | 2 | 3 | 4 | 2 | 3 | N/A | N/A | 10.1089/genbio.2022.0021
34 | Design and implementation of a low cost bio-printer modification, allowing for switching between plastic and gel extrusion | 10.1016/j.ohx.2021.e00186 | Bioprinting | 1 | 2 | 3 | 3 | 3 | 2 | 4 | 3 | 3 | N/A | 300 (excluding the cost of the printer) | 10.1016/j.ohx.2021.e00186
18 | A Low‐Cost, Open‐Source 3D Printer for Multimaterial and High‐Throughput Direct Ink Writing of Soft and Living Materials | 10.1002/adma.202414971 | Bioprinting | 3 | 4 | 4 | 4 | 3 | 4 | 5 | 4 | 4 | N/A | 250 | 10.1002/adma.202414971
17 | 3D bioprinting of collagen-based high-resolution internally perfusable scaffolds for engineering fully biologic tissue systems | 10.1126/sciadv.adu5905 | Bioprinting | 3 | 3 | 3 | 2 | 3 | 4 | 4 | 4 | 4 | N/A | N/A | 10.1126/sciadv.adu5905
21 | Design and Validation of a Piston-Driven Syringe-Extrusion Bioprinter Using an FDM Frame | 10.3390/biomimetics10120811 | Bioprinting | 2 | 3 | 4 | 2 | 4 | 4 | 3 | 4 | 4 | N/A | N/A | 10.3390/biomimetics10120811
25 | Design and Implementation of an Accessible 3D Bioprinter: Benchmarking the Performance of a Home-Made Bioprinter against a Professional Bioprinter | 10.3390/app131810213 | Bioprinting | 3 | 3 | 3 | 4 | 3 | 3 | 3 | 4 | 4 | N/A | N/A | 10.3390/app131810213
11 | LusoBioMaker: A low-cost 3D bioprinter with multi-extrusion and contour printing capabilities for thermo- and photocurable hydrogels towards complex tissue fabrication | 10.1016/j.bprint.2025.e00425 | Bioprinting | 3 | 2 | 3 | 2 | 2 | 4 | 3 | 4 | 2 | N/A | 830.19 (excluding the cost of the printer) | 10.1016/j.bprint.2025.e00425
16 | Srishti: a custom-built laser-assisted 3D bioprinter for fabricating high-resolution biological constructs | 10.1186/s44330-025-00051-6 | Bioprinting | 4 | 2 | 3 | 2 | 2 | 3 | 3 | 4 | 3 | N/A | N/A | 10.1186/s44330-025-00051-6
20 | An open-source and low-cost dual-extruder 3D printer for macroscale biotic materials | 10.1007/s40964-025-01383-z | Bioprinting | N/A | 4 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | N/A | N/A | 10.1007/s40964-025-01383-z
36 | Open-source hybrid 3D-bioprinter for simultaneous printing of thermoplastics and hydrogels | 10.1016/j.ohx.2021.e00230 | Bioprinting | 3 | 4 | 4 | 4 | 3 | 4 | 5 | 4 | 4 | N/A | 1150 | 10.1016/j.ohx.2021.e00230
39 | Design of an Open-Source, Low-Cost Bioink and Food Melt Extrusion 3D Printer | 10.3791/59834 | Bioprinting | 1 | 2 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | N/A | 240 | 10.3791/59834
41 | Nydus One Syringe Extruder (NOSE): A Prusa i3 3D printer conversion for bioprinting applications utilizing the FRESH-method | 10.1016/j.ohx.2019.e00069 | Bioprinting | 2 | 2 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | N/A | 90 (excluding printer) | 10.1016/j.ohx.2019.e00069
49 | A Custom Ultra-Low-Cost 3D Bioprinter Supports Cell Growth and Differentiation | 10.3389/fbioe.2020.580889 | Bioprinting | 1 | 4 | 4 | 4 | 4 | 4 | 3 | 4 | 4 | N/A | 230 | 10.3389/fbioe.2020.580889
27 | A hackable, multi-functional, and modular extrusion 3D printer for soft materials | 10.1038/s41598-022-16008-6 | Bioprinting | 3 | 3 | 3 | 3 | 4 | 4 | 3 | 4 | 4 | N/A | N/A | 10.1038/s41598-022-16008-6
44 | Design and Validation of an Open-Hardware Print-Head for Bioprinting Application | 10.1016/j.proeng.2015.07.015 | Bioprinting | N/A | 2 | 3 | 3 | 4 | 4 | 2 | 4 | 4 | N/A | N/A | 10.1016/j.proeng.2015.07.015
45 | BIO-SPEC: An open-source bench-top parallel bioreactor system | 10.1016/j.ohx.2025.e00670 | Bioreactor | N/A | 4 | 3 | 2 | 2 | 4 | 4 | 4 | 4 | N/A | 3000-7000 | 10.1016/j.ohx.2025.e00670
47 | Enhanced Growth of Bacterial Cells in a Smart 3D Printed Bioreactor | 10.3390/mi14101829 | Bioreactor | N/A | 2 | 3 | 3 | 4 | 2 | 2 | 4 | N/A | N/A | N/A | 10.3390/mi14101829
76 | Commit: Digital pipette: open hardware for liquid transfer in self-driving laboratories | 10.1039/d5dd00336a | Liquid Handling | 1 | 3 | 3 | 4 | 2 | 4 | 4 | 4 | 4 | 5 | 300 | 10.1039/d5dd00336a
104 | Melt Electrowriting of Nylon‐12 Microfibers with an Open‐Source 3D Printer | 10.1002/marc.202300424 | Microfabrication | 4 | 3 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | N/A | 500 | 10.1002/marc.202300424
105 | A cost-effective and open-source near-field electrospinning system with a graphical user interface | 10.1016/j.ohx.2025.e00691 | Microfabrication | 5 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | N/A | 1200 | 10.1016/j.ohx.2025.e00691
106 | Low-cost, versatile, and highly reproducible microfabrication pipeline to generate 3D-printed customised cell culture devices with complex designs | 10.1371/journal.pbio.3002503 | Microfabrication | 4 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | N/A | N/A | N/A | 10.1371/journal.pbio.3002503
108 | Homebrew Photolithography for the Rapid and Low-Cost, “Do It Yourself” Prototyping of Microfluidic Devices | 10.1021/acsomega.3c05544 | Microfabrication | 5 | 2 | 4 | 4 | 4 | 4 | 3 | 4 | 4 | 5 | 400 | 10.1021/acsomega.3c05544
119 | STARTER: a stand-alone reconfigurable and translational organ-on-chip platform based on modularity and open design principles | 10.1039/d5lc00756a | Microfabrication | 1 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 3 | N/A | 10.1039/d5lc00756a
122 | Hydrogel Patterns in Microfluidic Devices by Do-It-Yourself UV-Photolithography Suitable for Very Large-Scale Integration | 10.3390/mi11050479 | Microfabrication | 4 | 2 | 2 | 2 | 2 | 2 | 3 | 5 | N/A | N/A | N/A | 10.3390/mi11050479
103 | 3D Printing of Individualized Microfluidic Chips with DLP-Based Printer | 10.3390/ma16216984 | Microfluidics | 3 | 3 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | N/A | N/A | 10.3390/ma16216984
109 | Mask-Free Laser Lithography for Rapid and Low-Cost Microfluidic Device Fabrication | 10.1021/acs.analchem.8b03169 | Microfluidics | 2 | 2 | 3 | 4 | 4 | 4 | 3 | 4 | 4 | N/A | N/A | 10.1021/acs.analchem.8b03169
110 | A simple method of fabricating mask-free microfluidic devices for biological analysis | 10.1063/1.3487796 | Microfluidics | 3 | 2 | 3 | 4 | 3 | 2 | 3 | 4 | 4 | N/A | N/A | 10.1063/1.3487796
114 | Spatially and optically tailored 3D printing for highly miniaturized and integrated microfluidics | 10.1038/s41467-021-25788-w | Microfluidics | 4 | 3 | 3 | 2 | 2 | 4 | 3 | 4 | 4 | N/A | N/A | 10.1038/s41467-021-25788-w
118 | Modular microfluidic systems cast from 3D-printed molds for imaging leukocyte adherence to differentially treated endothelial cultures | 10.1038/s41598-019-47475-z | Microfluidics | 2 | 2 | 2 | 2 | 2 | 4 | 3 | 4 | 3 | N/A | N/A | 10.1038/s41598-019-47475-z